**Weston Creek Community Centre**

2nd Quarterly Energy Report – July 2015 to September 2015

# **Introduction**

This report summarises the energy saving results to date for the Weston Creek Community Centre. The site is now 6 months into its 12 month monitoring period.

# **Results**

Table : Energy savings to date (6 months from April 2015 to September 2015)

| **Fuel Type** | **Baseline period** | **Current period** | **Saving achieved to date** |
| --- | --- | --- | --- |
| Electricity | 57,285.9 kWh | 39,208.4 kWh | 18,077.5 kWh |
| Gas | NA | NA | NA |

Table : Other savings to date (6 months from April 2015 to September 2015)

| **Category** | **Saving** |
| --- | --- |
| Estimated Greenhouse Gas Saving | 7.7 tonnes of CO2 equivalent |
| Estimated Financial Saving | $1,620 |

# **Results**

For the first 6 months since the CEEP upgrade works, the site has reduced its electricity consumption by 32% (compared to the baseline period).

No new recommendations have arisen since the last quarterly report