**Majura (Northside) Community Centre**

3rd Quarterly Energy Report – September 2015 to November 2015

# **Introduction**

This report summarises the energy saving results to date for the Majura Community Centre. The site is currently 9 months into its 12 month monitoring period.

For the 9 months since the CEEP upgrade works, the site has increased its electricity consumption by 12% (compared to the baseline period). The gas consumption has reduced by 19% over the same period.

# **Results**

Table : Energy savings to date (9 months from March 2015 to November 2015)

| **Fuel Type** | **Baseline period** | **Monitoring period** | **Saving achieved** |
| --- | --- | --- | --- |
| Electricity | 95,561.6 kWh | 107,136.3 kWh | -11,574.7 kWh |
| Gas | 243,365.0 MJ | 198,203.0 MJ | 45,162.0 MJ |

Table : Other savings to date (9 months from March 2015 to November 2015)

| **Category** | **Saving** |
| --- | --- |
| Estimated Greenhouse Gas Increase | 9.4 tonnes of CO2 equivalent |
| Estimated Financial Cost Increase | $1,625 |

# **Building Tenant Energy Saving Tips**

Recommendations for tenants to improve energy efficiencies and increase energy cost savings:

* Ensure that portable electric fan heaters are not in use
* Ensure air conditioners are turned off when rooms are left unoccupied
* Maintain proper switching practices for the lighting system
* Switch off all equipment at the power source.