**Weston Creek Community Centre**

3rd Quarterly Energy Report – October 2015 to December 2015

# **Introduction**

This report summarises the energy saving results to date for the Weston Creek Community Centre. The site is now 9 months into its 12 month monitoring period.

## Results

Table 1: Energy savings to date (9 months from April 2015 to December 2015)

| **Fuel Type** | **Baseline period** | **Current period** | **Saving achieved to date** |
| --- | --- | --- | --- |
| Electricity | 78,684.4 kWh | 50,648.5 kWh | 28,035.9 kWh |
| Gas | NA | NA | NA |

Table 2: Other savings to date (9 months from April 2015 to December 2015)

| **Category** | **Saving** |
| --- | --- |
| Estimated Greenhouse Gas Saving | 30 tonnes of CO2 equivalent |
| Estimated Financial Saving | $6,283 |

## Results

For the first 9 months since the CEEP upgrade works, the site has reduced its electricity consumption by 36% (compared to the baseline period).